# 1.0	Overview

On March 21, 2006, Energy and Environmental Economics, Inc. with assistance from James J. Hirsch and Associates (“2006 Update consultants”) submitted the Final Report on 2006 Update to Avoided Costs and E3 Calculator (Final Report) in accordance with Decision 05-09-043.

On April 3, 2006 ALJ Gottstein directed the 2006 Update consultants to prepare a supplement to Attachment 2 of the Final Report that presents correction factors that are weighted by the expected number of energy efficiency measures to be installed in each climate zone (Supplement).  ALG Gottstein further directed, that for the purpose of the Supplement, the 2006 Update consultants should consult with Pacific Gas and Electric Company, Southern California Edison Company and San Diego Gas & Electric Company and that the Supplement should include a description and source(s) of data used to develop the weights.

This document provides the Supplement to Attachment 2 of the Final Report on 2006 Update to Avoided Costs and E3 Calculator (Final Report) as directed.  The process used to create the correction factors is exactly the same as outlined in the Final Report Attachment 2, however, the SEER, climate zone and commercial sector building type weightings were replaced with new values either supplied by the IOUs or developed in consultation with the IOUs.  SCE and PG&E supplied the new weighting tables that were used to develop the correction factors tabulated below.  SDG&E also supplied new weighting values; however, those values were modified after consultation with SDG&E staff.  During consultations between Ron Rubin (for SDG&E) and Jeff Hirsch (for 2006 Update consultants) on 10 April 2006, it was agreed to:

- use the commercial sector information as supplied by SDG&E except, for both residential and commercial, to use a 50/50 split between retrofit and new construction installation of measures (as also proposed by SCE and PG&E – there had been a misunderstanding of the meaning of those weighting tables 4A and 6A by SDG&E);

- use 100% retail sector commercial building weighting since the major commercial program (the KEMA 3rd party program) was targeted mainly for that building segment;

- use the 2006 Update consultants proposed residential climate zone weighting fractions as those values included the Residential New Construction Program which had not been included in the values submitted by SDG&E (the 2006 Update consultants values weighted the Residential New Construction program 2/3 and KEMA residential measure 1/3 across climate zones 8, 10, 14 and 15 – based on funding levels and forecast installs)

2.0	Proposed Residential Correction Factors

The tables below replace the similar numbered tables from the Final Report Attachment 2. Table 2 presents the proposed climate zone correction factors (one per climate zone row) as well as service territory weighted average correction factors (bottom row)  by IOU.  Tables 1, 3 and 4 provide the detailed weightings, developed in consultation with the IOUs, used to create the values in table 2.

3.0	Proposed Small Commercial Correction Factors

The tables below replace the similar numbered tables from the Final Report Attachment 2, except Table 7 which is new to this Supplement. Table 5 presents the proposed IOU climate zone weighted average correction factors (one per climate zone row) and IOU service territory and building type weighted average correction factors (bottom row).  Table 7 contains IOU service territory and building type weighted average correction factors.  Table 6 provides the detailed weightings, developed in consultation with the IOUs, used to create the values in tables 5 and 7.

# 4.0	Obtaining the Details of this Work - Results and Data Used

The comparison spreadsheet, which contains the details of this work, can be found in the web directory:

http://www.doe2.com/download/AvoidedCost/

The download directory contains the comparison spreadsheet used to produce this Supplement:

http://www.doe2.com/download/AvoidedCost/ACcorrectorSummary_2006-04-10.zip

As explained in the Final Report, download the ZIP to your hard drive and extract its entire contents into a single directory then open the spreadsheet. The details of the results of this Supplement are contained in the spreadsheet named “ACcorrectorSummary_2006-04-10.xls”.  This spreadsheet can also be used as a tool to examine individual results and hourly profiles.  A description of the important features of the spreadsheet can be found in Attachment 2 to the Final Report.