## Summary
|  | O1 | A3 | A4 | H29 | D15
Range & Cooktop
| NC CT Gas Z3 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 2165 | Integrated gas range / gas oven
| NC CT Electric Z3 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 2012 | Integrated induction range/electric oven
| NC CT Electric Z3 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 1835 | Integrated electric range & oven
| Retrofit CT Gas Z3 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 1510 | Integrated gas range / gas oven
| Retrofit CT Electric Z3 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 2295 | Integrated induction range/electric oven
| Retrofit CT Electric Z3 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 2118 | Integrated electric range & oven
| NC CT Gas Z4 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 2165 | Integrated gas range / gas oven
| NC CT Electric Z4 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 2012 | Integrated induction range/electric oven
| NC CT Electric Z4 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 1835 | Integrated electric range & oven
| Retrofit CT Gas Z4 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 1510 | Integrated gas range / gas oven
| Retrofit CT Electric Z4 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 2295 | Integrated induction range/electric oven
| Retrofit CT Electric Z4 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 2118 | Integrated electric range & oven
| NC CT Gas Z6 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 2071 | Integrated gas range / gas oven
| NC CT Electric Z6 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 1965 | Integrated induction range/electric oven
| NC CT Electric Z6 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 1788 | Integrated electric range & oven
| Retrofit CT Gas Z6 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 1463 | Integrated gas range / gas oven
| Retrofit CT Electric Z6 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 2224 | Integrated induction range/electric oven
| Retrofit CT Electric Z6 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 2047 | Integrated electric range & oven
| NC CT Gas Z9 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 2071 | Integrated gas range / gas oven
| NC CT Electric Z9 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 1965 | Integrated induction range/electric oven
| NC CT Electric Z9 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 1788 | Integrated electric range & oven
| Retrofit CT Gas Z9 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 1463 | Integrated gas range / gas oven
| Retrofit CT Electric Z9 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 2224 | Integrated induction range/electric oven
| Retrofit CT Electric Z9 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 2047 | Integrated electric range & oven
| NC CT Gas Z10 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 1929 | Integrated gas range / gas oven
| NC CT Electric Z10 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 1894 | Integrated induction range/electric oven
| NC CT Electric Z10 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 1717 | Integrated electric range & oven
| Retrofit CT Gas Z10 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 1392 | Integrated gas range / gas oven
| Retrofit CT Electric Z10 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 2118 | Integrated induction range/electric oven
| Retrofit CT Electric Z10 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 1941 | Integrated electric range & oven
| NC CT Gas Z12 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 1882 | Integrated gas range / gas oven
| NC CT Electric Z12 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 1870 | Integrated induction range/electric oven
| NC CT Electric Z12 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 1693 | Integrated electric range & oven
| Retrofit CT Gas Z12 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 1369 | Integrated gas range / gas oven
| Retrofit CT Electric Z12 O1 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 2083 | Integrated induction range/electric oven
| Retrofit CT Electric Z12 O2 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 1906 | Integrated electric range & oven
Dryer
| NC D Gas Z3 | Low-Rise Multi- Family: New Construction | Gas Option | 3 | 2130 | Gas Dryer
| NC D Electric Z3 O1 | Low-Rise Multi- Family: New Construction | Electric Option | 3 | 2661 | Heat Pump Dryer
| NC D Electric Z3 O2 | Low-Rise Multi- Family: New Construction | Electric Option | 3 | 1835 | Electric Resistance Dryer
| Retrofit D Gas Z3 | Low-Rise Multi- Family: Retrofit | Gas Option | 3 | 1805 | Gas Dryer
| Retrofit D Electric Z3 O1 | Low-Rise Multi- Family: Retrofit | Electric Option | 3 | 2944 | Heat Pump Dryer
| Retrofit D Electric Z3 O2 | Low-Rise Multi- Family: Retrofit | Electric Option | 3 | 2118 | Electric Resistance Dryer
| NC D Gas Z4 | Low-Rise Multi- Family: New Construction | Gas Option | 4 | 2130 | Gas Dryer
| NC D Electric Z4 O1 | Low-Rise Multi- Family: New Construction | Electric Option | 4 | 2661 | Heat Pump Dryer
| NC D Electric Z4 O2 | Low-Rise Multi- Family: New Construction | Electric Option | 4 | 1835 | Electric Resistance Dryer
| Retrofit D Gas Z4 | Low-Rise Multi- Family: Retrofit | Gas Option | 4 | 1805 | Gas Dryer
| Retrofit D Electric Z4 O1 | Low-Rise Multi- Family: Retrofit | Electric Option | 4 | 2944 | Heat Pump Dryer
| Retrofit D Electric Z4 O2 | Low-Rise Multi- Family: Retrofit | Electric Option | 4 | 2118 | Electric Resistance Dryer
| NC D Gas Z6 | Low-Rise Multi- Family: New Construction | Gas Option | 6 | 2059 | Gas Dryer
| NC D Electric Z6 O1 | Low-Rise Multi- Family: New Construction | Electric Option | 6 | 2614 | Heat Pump Dryer
| NC D Electric Z6 O2 | Low-Rise Multi- Family: New Construction | Electric Option | 6 | 1788 | Electric Resistance Dryer
| Retrofit D Gas Z6 | Low-Rise Multi- Family: Retrofit | Gas Option | 6 | 1758 | Gas Dryer
| Retrofit D Electric Z6 O1 | Low-Rise Multi- Family: Retrofit | Electric Option | 6 | 2873 | Heat Pump Dryer
| Retrofit D Electric Z6 O2 | Low-Rise Multi- Family: Retrofit | Electric Option | 6 | 2047 | Electric Resistance Dryer
| NC D Gas Z9 | Low-Rise Multi- Family: New Construction | Gas Option | 9 | 2059 | Gas Dryer
| NC D Electric Z9 O1 | Low-Rise Multi- Family: New Construction | Electric Option | 9 | 2614 | Heat Pump Dryer
| NC D Electric Z9 O2 | Low-Rise Multi- Family: New Construction | Electric Option | 9 | 1788 | Electric Resistance Dryer
| Retrofit D Gas Z9 | Low-Rise Multi- Family: Retrofit | Gas Option | 9 | 1758 | Gas Dryer
| Retrofit D Electric Z9 O1 | Low-Rise Multi- Family: Retrofit | Electric Option | 9 | 2873 | Heat Pump Dryer
| Retrofit D Electric Z9 O2 | Low-Rise Multi- Family: Retrofit | Electric Option | 9 | 2047 | Electric Resistance Dryer
| NC D Gas Z10 | Low-Rise Multi- Family: New Construction | Gas Option | 10 | 1953 | Gas Dryer
| NC D Electric Z10 O1 | Low-Rise Multi- Family: New Construction | Electric Option | 10 | 2543 | Heat Pump Dryer
| NC D Electric Z10 O2 | Low-Rise Multi- Family: New Construction | Electric Option | 10 | 1717 | Electric Resistance Dryer
| Retrofit D Gas Z10 | Low-Rise Multi- Family: Retrofit | Gas Option | 10 | 1687 | Gas Dryer
| Retrofit D Electric Z10 O1 | Low-Rise Multi- Family: Retrofit | Electric Option | 10 | 2767 | Heat Pump Dryer
| Retrofit D Electric Z10 O2 | Low-Rise Multi- Family: Retrofit | Electric Option | 10 | 1941 | Electric Resistance Dryer
| NC D Gas Z12 | Low-Rise Multi- Family: New Construction | Gas Option | 12 | 1918 | Gas Dryer
| NC D Electric Z12 O1 | Low-Rise Multi- Family: New Construction | Electric Option | 12 | 2519 | Heat Pump Dryer
| NC D Electric Z12 O2 | Low-Rise Multi- Family: New Construction | Electric Option | 12 | 1693 | Electric Resistance Dryer
| Retrofit D Gas Z12 | Low-Rise Multi- Family: Retrofit | Gas Option | 12 | 1664 | Gas Dryer
| Retrofit D Electric Z12 O1 | Low-Rise Multi- Family: Retrofit | Electric Option | 12 | 2732 | Heat Pump Dryer
| Retrofit D Electric Z12 O2 | Low-Rise Multi- Family: Retrofit | Electric Option | 12 | 1906 | Electric Resistance Dryer

## Sheet1
Zone |  | Labor | OH&P | Design | Market | Retail
3 | San Francisco | 95 | 20% | 12% | 18% | 18%
4 | San Jose | 95 | 18% | 12% | 15% | 18%
6 | Santa Barbara / Santa Monica / Long Beach | 85 | 15% | 12% | 12% | 18%
9 | Pasadena / Burbank / Pomona | 85 | 15% | 12% | 12% | 18%
10 | Riverside / San Bernadino | 70 | 15% | 12% | 10% | 18%
12 | Sacramento | 65 | 15% | 12% | 10% | 18%

## Water and Cooking (hidden)
Wate Heater |  |  | Existing | Gas Option | Electric Option
Single family
|  | New Construction | - | Gas Tankless WH in garage | Heat pump water heater in garage
|  | 1990's | Gas WH with storage in garage | Gas WH with storage in garage | Heat pump water heater in garage
|  | Pre 1978 | Gas WH with storage, inside home | Gas WH with storage, inside home | Heat pump water heater, ducted inside home
Low Rise Multi-family
|  | New Construction | - | Gas tankless WH in outdoor closet | HPWH in outdoor closet
|  | 1990's | Gas WH w/storage, outdoor closet | Gas WH w/storage, outdoor closet | HPWH, ducted, in outdoor closet
|  | Pre 1978 | Gas WH w/storage, outdoor closet | Gas WH w/storage, outdoor closet | HPWH, ducted, inside home
High-Rise Multi-family
|  | New Construction |  | Central Gas WH with storage | Central ASHP with electric resistance condenser air-preheater and large storage tank
|  | Retrofit |  | Central Gas WH with storage | Central ASHP with electric resistance condenser air-preheater and large storage tank
Cookstove |  |  |  |  | Option 1 | Option 2
|  | New Construction |  | Gas/Electric | Induction | Electric Resistance
|  | Retrofit |  | Gas/Electric | Induction | Electric Resistance

## NC CT Gas Z3
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 50 | LF | 3 | 150
|  |  | Labor | 6 | HR | 95 | 570
1835
|  | Subtotal |  |  |  |  | 1835
0
| Retail installer markup |  |  | 18% |  |  | 330
0
| Recommended Budget | [5 empty] | 2165
0

## NC CT Electric Z3 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1705
|  | Subtotal |  |  |  |  | 1705
0
| Retail installer markup |  |  | 18% |  |  | 307
0
| Recommended Budget | [5 empty] | 2012
0

## NC CT Electric Z3 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1555
0
| Retail installer markup |  |  | 18% |  |  | 280
0
| Recommended Budget | [5 empty] | 1835
0

## Retrofit CT Gas Z3
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1040
|  | Subtotal |  |  |  |  | 1280
0
| Retail installer markup |  |  | 18% |  |  | 230
0
| Recommended Budget | [5 empty] | 1510
0

## Retrofit CT Electric Z3 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1705
|  | Subtotal |  |  |  |  | 1945
0
| Retail installer markup |  |  | 18% |  |  | 350
0
| Recommended Budget | [5 empty] | 2295
0

## Retrofit CT Electric Z3 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1795
0
| Retail installer markup |  |  | 18% |  |  | 323
0
| Recommended Budget | [5 empty] | 2118
0

## NC CT Gas Z4
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 50 | LF | 3 | 150
|  |  | Labor | 6 | HR | 95 | 570
1835
|  | Subtotal |  |  |  |  | 1835
0
| Retail installer markup |  |  | 18% |  |  | 330
0
| Recommended Budget | [5 empty] | 2165
0

## NC CT Electric Z4 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1705
|  | Subtotal |  |  |  |  | 1705
0
| Retail installer markup |  |  | 18% |  |  | 307
0
| Recommended Budget | [5 empty] | 2012
0

## NC CT Electric Z4 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1555
0
| Retail installer markup |  |  | 18% |  |  | 280
0
| Recommended Budget | [5 empty] | 1835
0

## Retrofit CT Gas Z4
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1040
|  | Subtotal |  |  |  |  | 1280
0
| Retail installer markup |  |  | 18% |  |  | 230
0
| Recommended Budget | [5 empty] | 1510
0

## Retrofit CT Electric Z4 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1705
|  | Subtotal |  |  |  |  | 1945
0
| Retail installer markup |  |  | 18% |  |  | 350
0
| Recommended Budget | [5 empty] | 2295
0

## Retrofit CT Electric Z4 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1795
0
| Retail installer markup |  |  | 18% |  |  | 323
0
| Recommended Budget | [5 empty] | 2118
0

## NC CT Gas Z6
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 50 | LF | 3 | 150
|  |  | Labor | 6 | HR | 85 | 510
1755
|  | Subtotal |  |  |  |  | 1755
0
| Retail installer markup |  |  | 18% |  |  | 316
0
| Recommended Budget | [5 empty] | 2071
0

## NC CT Electric Z6 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1665
|  | Subtotal |  |  |  |  | 1665
0
| Retail installer markup |  |  | 18% |  |  | 300
0
| Recommended Budget | [5 empty] | 1965
0

## NC CT Electric Z6 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1515
0
| Retail installer markup |  |  | 18% |  |  | 273
0
| Recommended Budget | [5 empty] | 1788
0

## Retrofit CT Gas Z6
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1020
|  | Subtotal |  |  |  |  | 1240
0
| Retail installer markup |  |  | 18% |  |  | 223
0
| Recommended Budget | [5 empty] | 1463
0

## Retrofit CT Electric Z6 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1665
|  | Subtotal |  |  |  |  | 1885
0
| Retail installer markup |  |  | 18% |  |  | 339
0
| Recommended Budget | [5 empty] | 2224
0

## Retrofit CT Electric Z6 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1735
0
| Retail installer markup |  |  | 18% |  |  | 312
0
| Recommended Budget | [5 empty] | 2047
0

## NC CT Gas Z9
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 50 | LF | 3 | 150
|  |  | Labor | 6 | HR | 85 | 510
1755
|  | Subtotal |  |  |  |  | 1755
0
| Retail installer markup |  |  | 18% |  |  | 316
0
| Recommended Budget | [5 empty] | 2071
0

## NC CT Electric Z9 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1665
|  | Subtotal |  |  |  |  | 1665
0
| Retail installer markup |  |  | 18% |  |  | 300
0
| Recommended Budget | [5 empty] | 1965
0

## NC CT Electric Z9 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1515
0
| Retail installer markup |  |  | 18% |  |  | 273
0
| Recommended Budget | [5 empty] | 1788
0

## Retrofit CT Gas Z9
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1020
|  | Subtotal |  |  |  |  | 1240
0
| Retail installer markup |  |  | 18% |  |  | 223
0
| Recommended Budget | [5 empty] | 1463
0

## Retrofit CT Electric Z9 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1665
|  | Subtotal |  |  |  |  | 1885
0
| Retail installer markup |  |  | 18% |  |  | 339
0
| Recommended Budget | [5 empty] | 2224
0

## Retrofit CT Electric Z9 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1735
0
| Retail installer markup |  |  | 18% |  |  | 312
0
| Recommended Budget | [5 empty] | 2047
0

## NC CT Gas Z10
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 50 | LF | 3 | 150
|  |  | Labor | 6 | HR | 70 | 420
1635
|  | Subtotal |  |  |  |  | 1635
0
| Retail installer markup |  |  | 18% |  |  | 294
0
| Recommended Budget | [5 empty] | 1929
0

## NC CT Electric Z10 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
1605
|  | Subtotal |  |  |  |  | 1605
0
| Retail installer markup |  |  | 18% |  |  | 289
0
| Recommended Budget | [5 empty] | 1894
0

## NC CT Electric Z10 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
1455
|  | Subtotal |  |  |  |  | 1455
0
| Retail installer markup |  |  | 18% |  |  | 262
0
| Recommended Budget | [5 empty] | 1717
0

## Retrofit CT Gas Z10
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 70 | 140
|  |  | Disposal | 1 | LS | 50 | 50
190
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
990
|  | Subtotal |  |  |  |  | 1180
0
| Retail installer markup |  |  | 18% |  |  | 212
0
| Recommended Budget | [5 empty] | 1392
0

## Retrofit CT Electric Z10 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 70 | 140
|  |  | Disposal | 1 | LS | 50 | 50
190
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
1605
|  | Subtotal |  |  |  |  | 1795
0
| Retail installer markup |  |  | 18% |  |  | 323
0
| Recommended Budget | [5 empty] | 2118
0

## Retrofit CT Electric Z10 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 70 | 140
|  |  | Disposal | 1 | LS | 50 | 50
190
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
1455
|  | Subtotal |  |  |  |  | 1645
0
| Retail installer markup |  |  | 18% |  |  | 296
0
| Recommended Budget | [5 empty] | 1941
0

## NC CT Gas Z12
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 50 | LF | 3 | 150
|  |  | Labor | 6 | HR | 65 | 390
1595
|  | Subtotal |  |  |  |  | 1595
0
| Retail installer markup |  |  | 18% |  |  | 287
0
| Recommended Budget | [5 empty] | 1882
0

## NC CT Electric Z12 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
1585
|  | Subtotal |  |  |  |  | 1585
0
| Retail installer markup |  |  | 18% |  |  | 285
0
| Recommended Budget | [5 empty] | 1870
0

## NC CT Electric Z12 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
|  | Remove Existing Stove |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
1435
|  | Subtotal |  |  |  |  | 1435
0
| Retail installer markup |  |  | 18% |  |  | 258
0
| Recommended Budget | [5 empty] | 1693
0

## Retrofit CT Gas Z12
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 65 | 130
|  |  | Disposal | 1 | LS | 50 | 50
180
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 750 | 750
|  |  | Integrated gas range / gas oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
980
|  | Subtotal |  |  |  |  | 1160
0
| Retail installer markup |  |  | 18% |  |  | 209
0
| Recommended Budget | [5 empty] | 1369
0

## Retrofit CT Electric Z12 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 65 | 130
|  |  | Disposal | 1 | LS | 50 | 50
180
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range | 1 | EA | 1100 | 1100
|  |  | Integrated induction range/electric oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
1585
|  | Subtotal |  |  |  |  | 1765
0
| Retail installer markup |  |  | 18% |  |  | 318
0
| Recommended Budget | [5 empty] | 2083
0

## Retrofit CT Electric Z12 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
Remove Existing Stove
|  |  | Labor | 2 | HR | 65 | 130
|  |  | Disposal | 1 | LS | 50 | 50
180
0
| Installation | [5 empty] | 0
|  | Stove, Freestanding |  |  |  |  | 0
|  |  | New Range, Freestanding | 1 | EA | 950 | 950
|  |  | Integrated electric range & oven |  |  |  | 0
|  |  | Miscellaneous supplies, trim | 1 | LS | 100 | 100
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
1435
|  | Subtotal |  |  |  |  | 1615
0
| Retail installer markup |  |  | 18% |  |  | 291
0
| Recommended Budget | [5 empty] | 1906
0

## NC D Gas Z3
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
3
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 20 | LF | 3 | 60
|  |  | Labor | 4 | HR | 95 | 380
1805
|  | Subtotal |  |  |  |  | 1805
0
| Retail installer markup |  |  | 18% |  |  | 325
0
| Recommended Budget | [5 empty] | 2130
0

## NC D Electric Z3 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
3
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
2255
|  | Subtotal |  |  |  |  | 2255
0
| Retail installer markup |  |  | 18% |  |  | 406
0
| Recommended Budget | [5 empty] | 2661
0

## NC D Electric Z3 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
3
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1555
0
| Retail installer markup |  |  | 18% |  |  | 280
0
| Recommended Budget | [5 empty] | 1835
0

## Retrofit D Gas Z3
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Gas Option
3
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1290
|  | Subtotal |  |  |  |  | 1530
0
| Retail installer markup |  |  | 18% |  |  | 275
0
| Recommended Budget | [5 empty] | 1805
0

## Retrofit D Electric Z3 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
3
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
2255
|  | Subtotal |  |  |  |  | 2495
0
| Retail installer markup |  |  | 18% |  |  | 449
0
| Recommended Budget | [5 empty] | 2944
0

## Retrofit D Electric Z3 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
3
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1795
0
| Retail installer markup |  |  | 18% |  |  | 323
0
| Recommended Budget | [5 empty] | 2118
0

## NC D Gas Z4
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
4
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 20 | LF | 3 | 60
|  |  | Labor | 4 | HR | 95 | 380
1805
|  | Subtotal |  |  |  |  | 1805
0
| Retail installer markup |  |  | 18% |  |  | 325
0
| Recommended Budget | [5 empty] | 2130
0

## NC D Electric Z4 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
4
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
2255
|  | Subtotal |  |  |  |  | 2255
0
| Retail installer markup |  |  | 18% |  |  | 406
0
| Recommended Budget | [5 empty] | 2661
0

## NC D Electric Z4 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
4
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1555
0
| Retail installer markup |  |  | 18% |  |  | 280
0
| Recommended Budget | [5 empty] | 1835
0

## Retrofit D Gas Z4
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Gas Option
4
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1290
|  | Subtotal |  |  |  |  | 1530
0
| Retail installer markup |  |  | 18% |  |  | 275
0
| Recommended Budget | [5 empty] | 1805
0

## Retrofit D Electric Z4 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
4
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
2255
|  | Subtotal |  |  |  |  | 2495
0
| Retail installer markup |  |  | 18% |  |  | 449
0
| Recommended Budget | [5 empty] | 2944
0

## Retrofit D Electric Z4 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
4
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 95 | 190
|  |  | Disposal | 1 | LS | 50 | 50
240
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 95 | 190
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 95 | 190
1555
|  | Subtotal |  |  |  |  | 1795
0
| Retail installer markup |  |  | 18% |  |  | 323
0
| Recommended Budget | [5 empty] | 2118
0

## NC D Gas Z6
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
6
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 20 | LF | 3 | 60
|  |  | Labor | 4 | HR | 85 | 340
1745
|  | Subtotal |  |  |  |  | 1745
0
| Retail installer markup |  |  | 18% |  |  | 314
0
| Recommended Budget | [5 empty] | 2059
0

## NC D Electric Z6 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
6
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
2215
|  | Subtotal |  |  |  |  | 2215
0
| Retail installer markup |  |  | 18% |  |  | 399
0
| Recommended Budget | [5 empty] | 2614
0

## NC D Electric Z6 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
6
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1515
0
| Retail installer markup |  |  | 18% |  |  | 273
0
| Recommended Budget | [5 empty] | 1788
0

## Retrofit D Gas Z6
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Gas Option
6
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1270
|  | Subtotal |  |  |  |  | 1490
0
| Retail installer markup |  |  | 18% |  |  | 268
0
| Recommended Budget | [5 empty] | 1758
0

## Retrofit D Electric Z6 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
6
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
2215
|  | Subtotal |  |  |  |  | 2435
0
| Retail installer markup |  |  | 18% |  |  | 438
0
| Recommended Budget | [5 empty] | 2873
0

## Retrofit D Electric Z6 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
6
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1735
0
| Retail installer markup |  |  | 18% |  |  | 312
0
| Recommended Budget | [5 empty] | 2047
0

## NC D Gas Z9
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
9
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 20 | LF | 3 | 60
|  |  | Labor | 4 | HR | 85 | 340
1745
|  | Subtotal |  |  |  |  | 1745
0
| Retail installer markup |  |  | 18% |  |  | 314
0
| Recommended Budget | [5 empty] | 2059
0

## NC D Electric Z9 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
9
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
2215
|  | Subtotal |  |  |  |  | 2215
0
| Retail installer markup |  |  | 18% |  |  | 399
0
| Recommended Budget | [5 empty] | 2614
0

## NC D Electric Z9 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
9
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1515
0
| Retail installer markup |  |  | 18% |  |  | 273
0
| Recommended Budget | [5 empty] | 1788
0

## Retrofit D Gas Z9
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Gas Option
9
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1270
|  | Subtotal |  |  |  |  | 1490
0
| Retail installer markup |  |  | 18% |  |  | 268
0
| Recommended Budget | [5 empty] | 1758
0

## Retrofit D Electric Z9 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
9
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
2215
|  | Subtotal |  |  |  |  | 2435
0
| Retail installer markup |  |  | 18% |  |  | 438
0
| Recommended Budget | [5 empty] | 2873
0

## Retrofit D Electric Z9 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
9
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 85 | 170
|  |  | Disposal | 1 | LS | 50 | 50
220
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 85 | 170
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 85 | 170
1515
|  | Subtotal |  |  |  |  | 1735
0
| Retail installer markup |  |  | 18% |  |  | 312
0
| Recommended Budget | [5 empty] | 2047
0

## NC D Gas Z10
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
10
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 20 | LF | 3 | 60
|  |  | Labor | 4 | HR | 70 | 280
1655
|  | Subtotal |  |  |  |  | 1655
0
| Retail installer markup |  |  | 18% |  |  | 298
0
| Recommended Budget | [5 empty] | 1953
0

## NC D Electric Z10 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
10
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
2155
|  | Subtotal |  |  |  |  | 2155
0
| Retail installer markup |  |  | 18% |  |  | 388
0
| Recommended Budget | [5 empty] | 2543
0

## NC D Electric Z10 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
10
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
1455
|  | Subtotal |  |  |  |  | 1455
0
| Retail installer markup |  |  | 18% |  |  | 262
0
| Recommended Budget | [5 empty] | 1717
0

## Retrofit D Gas Z10
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Gas Option
10
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 70 | 140
|  |  | Disposal | 1 | LS | 50 | 50
190
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1240
|  | Subtotal |  |  |  |  | 1430
0
| Retail installer markup |  |  | 18% |  |  | 257
0
| Recommended Budget | [5 empty] | 1687
0

## Retrofit D Electric Z10 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
10
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 70 | 140
|  |  | Disposal | 1 | LS | 50 | 50
190
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
2155
|  | Subtotal |  |  |  |  | 2345
0
| Retail installer markup |  |  | 18% |  |  | 422
0
| Recommended Budget | [5 empty] | 2767
0

## Retrofit D Electric Z10 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
10
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 70 | 140
|  |  | Disposal | 1 | LS | 50 | 50
190
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 70 | 140
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 70 | 140
1455
|  | Subtotal |  |  |  |  | 1645
0
| Retail installer markup |  |  | 18% |  |  | 296
0
| Recommended Budget | [5 empty] | 1941
0

## NC D Gas Z12
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Gas Option
12
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 75 | 75
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping | 20 | LF | 3 | 60
|  |  | Labor | 4 | HR | 65 | 260
1625
|  | Subtotal |  |  |  |  | 1625
0
| Retail installer markup |  |  | 18% |  |  | 293
0
| Recommended Budget | [5 empty] | 1918
0

## NC D Electric Z12 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
12
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
2135
|  | Subtotal |  |  |  |  | 2135
0
| Retail installer markup |  |  | 18% |  |  | 384
0
| Recommended Budget | [5 empty] | 2519
0

## NC D Electric Z12 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: New Construction
New Construction
Electric Option
12
Demolition
|  | Remove Existing Dryer |  |  |  |  | Not required
Labor
Disposal
0
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
1435
|  | Subtotal |  |  |  |  | 1435
0
| Retail installer markup |  |  | 18% |  |  | 258
0
| Recommended Budget | [5 empty] | 1693
0

## Retrofit D Gas Z12
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Gas Option
12
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 65 | 130
|  |  | Disposal | 1 | LS | 50 | 50
180
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 850 | 850
|  |  | Gas Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment |  |  |  | Existing
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Existing
|  |  | Labor |  |  |  | Existing
1230
|  | Subtotal |  |  |  |  | 1410
0
| Retail installer markup |  |  | 18% |  |  | 254
0
| Recommended Budget | [5 empty] | 1664
0

## Retrofit D Electric Z12 O1
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
12
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 65 | 130
|  |  | Disposal | 1 | LS | 50 | 50
180
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 1500 | 1500
|  |  | Heat Pump Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
2135
|  | Subtotal |  |  |  |  | 2315
0
| Retail installer markup |  |  | 18% |  |  | 417
0
| Recommended Budget | [5 empty] | 2732
0

## Retrofit D Electric Z12 O2
Low-Rise Multi- Family | [7 empty] | Low-Rise Multi- Family: Retrofit
Retrofit
Electric Option
12
Demolition
Remove Existing Dryer
|  |  | Labor | 2 | HR | 65 | 130
|  |  | Disposal | 1 | LS | 50 | 50
180
0
| Installation | [5 empty] | 0
|  | Drier |  |  |  |  | 0
|  |  | New Dryer | 1 | EA | 800 | 800
|  |  | Electric Resistance Dryer |  |  |  | 0
|  |  | Miscellaneous supplies | 1 | LS | 250 | 250
|  |  | Labor | 2 | HR | 65 | 130
|  | Gas and Electrical Supply |  |  |  |  | 0
|  |  | New electrical circuits to equipment | 1 | EA | 125 | 125
|  |  | Panel and main service modification |  |  |  | Not required
|  |  | Gas supply piping |  |  |  | Not required
|  |  | Labor | 2 | HR | 65 | 130
1435
|  | Subtotal |  |  |  |  | 1615
0
| Retail installer markup |  |  | 18% |  |  | 291
0
| Recommended Budget | [5 empty] | 1906
0